## Schedule
Annual Schedule
Action | Due Date | Completed
Review and Update SWPPP After an Unauthorized Discharge, Release or Spill Reported, if Applicable | 30 Days (Review), and 90 Days (Update) | No
Implement a Nutrient Management Plan After Final Stabilization of a Land Disturbance Project | 6 Months After Final Stabilization | NA
Nutrient Management Plans Submitted to DCR | 30 Days Prior to Expiration | NA
Notify DEQ in Writing of a Previously Unidentified Significant Source of PCBs within the MS4 Area | Not Applicable (30 Days of Discovery) | NA
Implement Four Public Involvement and Participation Activities | 2026-06-30 | Yes
Annually Review High-Priority Facilities without SWPPPs and Develop SWPPP if Required, Maintain a List of High-Priority Facilities | June 30, 2026 (Review) and December 31, 2026 (Develop) | Yes/NA
Update MS4 Map, Information Table, and Check for Any Approved TMDLs | 2026-10-01 | No
Report BMPs Implemented and Inspected Using DEQ BMP Warehouse | 2026-10-01 | No
Submit Annual Report and Chesapeake Bay TMDL Implementation Annual Status Report | 2026-10-01 | No
Post Annual Report and Chesapeake Bay TMDL Implementation Annual Status Report on the Stormwater Webpage | November 1, 2026 (30 Days After October 1, 2026) | No
Permit Cycle Schedule
Action | Due Date | Completed
Submit Registration Statement, Draft Chesapeake Bay TMDL Action Plan | 2023-10-01 | Yes
Update and Maintain a Stormwater Webpage | 2024-02-01 | Yes
Nutrient Management Plans Expired on 11/1/2023 submitted to DCR | 2024-05-01 | NA
Update the MS4 Program Plan | 2024-05-01 | Yes
Post an Updated MS4 Program Plan on Stormwater Webpage | 2024-06-01 | Yes
Conduct GHPP/IDDE Training | 2024-07-01 | Yes
Submit Phase III Chesapeake Bay TMDL Action Plan / Public Comment Period Prior to Submittal to DEQ | 2024-11-01 | Yes
Identify Any New High-Priority Facilities within Expanded 2020 CUA | 2024-11-01 | NA
Identify Areas within Expanded 2020 CUA Requiring Nutrient Management Plans | 2024-11-01 | NA
Update local TMDL Action Plan as Applicable / Public Comment Period Prior to Submittal to DEQ | 2025-05-01 | Yes
Conduct GHPP/IDDE Training | 2025-06-30 | Yes
Update MS4 Map | 2025-11-01 | Yes
Submit GIS Geodatabase or Shapefiles of Outfalls and MS4 Area with Attribute Tables | 2025-11-01 | Yes
Update Anti-icing and Deicing GHPP Procedures | 2025-11-01 | Yes
Develop and Initiate Implementation of TMDLs Approved by EPA on or after July 1, 2018, and Prior to October 31, 2023, in which a WLA has been Allocated / Public Comment Period Prior to Submittal to DEQ | 2026-05-01 | NA
Submit to DEQ an Update on the Progress Made Toward Achieving Local Sediment, Phosphorus and Nitrogen TMDL Action Plan Goals and Anticipated End Dates / Public Comment Period Prior to Submittal to DEQ | 2026-11-01 | NA
Develop an Anti-icing and Deicing Agent Education and Outreach Strategy for Chloride TMDLs / Public Comment Period Prior to Submittal to DEQ | 2026-11-01 | NA
Review GHPP Procedures for Anti-icing and Deicing Agent Application, Handling, Storage and Transport Activities / Public Comment Period Prior to Submittal to DEQ | 2026-11-01 | NA
Develop and Implement Nutrient Management Plans on Areas within the Expanded 2020 CUA. | 2026-11-01 | NA
No Nutrient Management Plans Expired | 2026-11-01 | NA
Update Renovation and Significant Exterior Maintenance GHPP Procedures | 2026-11-01 | NA
Develop and Implement New High Priority Facility SWPPP(s), if Applicable | 2026-11-01 | NA
Develop and Maintain Written Inspection and Maintenance Procedures for Ecosystem Restoration Projects | 2026-11-01 | No
Conduct GHPP/IDDE Training | 2027-06-30 | No
Inspect Ecosystem Restoration Projects Implemented as Part of a Current TMDL Action Plan | 2028-11-01 | No
Implement BMPs to Meet Cumulative Reductions Calculated in the Phase III Chesapeake Bay TMDL Action Plan | 2028-11-01 | Yes
Update the Phase III Chesapeake Bay TMDL Action Plan to Offset Increased Loads from New Sources Initiating Construction between July 1, 2009, and October 31, 2023, Located in the Expanded 2020 CUA | 2028-11-01 | NA
Update the Phase III Chesapeake Bay TMDL Action Plan to Offset Increased Loads from Grandfathered Projects that Began Construction After July 1, 2014. | 2028-11-01 | NA
Other Environmental Compliance | Due Date | Completed | Last updated | Notes
SPCC Plan (Annual inspection, annual training, update every 5 years or within 6 months of a change (internal only document) 40 CFR 112 | November 2025 | No | 2020 | Ask about the hospital
ODC Plan (Update every 5 years to VDEQ, 90 days before it it due) | November 2027 (Aug 2027=90 days prior) | No | November 2022 | Ask about the hospital
Air Emissions Update (Annual report submission to DEQ), air permit mods as needed, no permit expiration date | April 15, 2026 | Yes | April 2025 | Ask about the hospital
Tier II Report (Annual report submission to DEQ) | March 1, 2026 | Yes | March 2025 | Ask about the hospital
80,000 AST Integrity Test (every 20 years) API 653 | July 2040 | No | July 2020
80,000 AST Pipe Integrity Test (every 5 years) 9 VAC 25-91-130 | February 2028 | No | February 2023
80,000 AST Secondary Containment Certification (every 10 years) 9 VAC 25-91-130 | December 2030 | No | December 2020

## PEO_PIA
CSH Public Education and Outreach and Public Involvement Activities Tracking 2025 - 2026
Public Education and Outreach
High Priority SW Issue | Stategy | Communication | Anticipated Time Period | Documentation | Date Completed
1. Public education on stormwater runoff | Traditional written materials | Brochure distributed via email | Spring or Summer 2026 | Email | 2026-03-25
2. TMDLs and Local Impaired Waters | Media materials | YouTube presentation | Spring or Summer 2026 | Email | 2026-03-25
3. Good Housekeeping and Pollution Prevention | Traditional written materials | Flyer Distributed via email | Spring or Summer 2026 | Email | 2026-03-25
Public Involvement Activities
PIA | Category | Activity Description | Anticipated Time Perid | Metric | Date Completed
Event 1 | Restoration | Stream Clean up Event | Spring or Summer 2026 | 4 Participants & 5 bags | 2026-04-27
Event 2 | Restoration | Stream Clean up Event | Spring or Summer 2026 | 2 Participants & 4 bags | 2026-04-28
Event 3 | Restoration | Watershed Walk | Spring or Summer 2026 | 3 Participants | 2026-05-01
Event 4 | Educational | Stormwater Presentation w/ Q&A | Spring or Summer 2026 | 2 Participants | 2026-04-24
Table 2: Strategies for Public Education and Outreach
Strategies | Examples (not meant to be all inclusive or limiting)
Traditional written materials | Informational brochures, newsletters, fact sheets, utility bill inserts, or recreational guides for targeted groups of citizens
Alternative materials | Bumper stickers, refrigerator magnets, t-shirts, or drink koozies
Signage | Temporary or permanent signage in public places or facilities, vehicle signage, billboards, or storm drain stenciling
Media materials | Information disseminated through electronic media, radio, televisions, movie theater, newspaper, or GIS story maps
Speaking engagements | Presentations to school, church, industry, trade, special interest, or community groups
Curriculum materials | Materials developed for school-aged children, students at local colleges or universities, or extension classes offered to local citizens
Training materials | Materials developed to disseminate during workshops offered to local citizens, trade organization, or industrial officials
Public education activities | Booth at community fair, demonstration of stormwater control projects, presentation of stormwater materials to schools to meet applicable education Standards of Learning or curriculum requirements, or watershed walks
Public meetings | Public meetings on proposed community stormwater management retrofits, green infrastructure redevelopment, ecosystem restoration projects, TMDL development, [ climate change’s effects on stormwater management, voluntary residential low impact development, or other stormwater issues
Public Involvement
Public Involvement Opportunity Categories | Examples
Monitoring | Establish or support citizen monitoring group
Restoration | Stream, watershed, shoreline, beach, or park clean-up day, adopt-a-waterway program, tree plantings, and riparian buffer plantings.
Public education activities | Booth at community fair, demonstration of stormwater control projects, climate change's effects on stormwater management, presentation of stormwater materials to schools to meet applicable education Standards of Learning or curriculum requirements, or watershed walks.
Public meetings | Public meetings on proposed community stormwater management retrofits, green infrastructure redevelopment, ecosystem restoration projects, TMDL development, voluntary residential low impact development, climate change's effects on stormwater management, or other stormwater issues
Disposal or collection events | Household hazardous chemicals collection, vehicle fluids collection
Pollution prevention | Adopt-a-storm drain program, implement a storm drain marking program, promote use of residential stormwater BMPs, implement pet waste stations in public areas, adopt-a-street program.

## SMF Inventory
Central State Hospital Stormwater Management Facility Inventory 2025 - 2026
Facility ID | Facility Type | Latitude | Longitude | Total Drainage Area (Acres) | Pervious Area (Acres) | Impervious Area (Acres) | Year Built | 6th Order HUC | Receiving Water | 2022 303(d)/305(b) Impairment(s) | Used for Chesapeake Bay TMDL Reductions | Public or Privately Owned? | Maintenance Agreement? | Date of Last Inspection | Location of Photos
CSH-1 | Extended Detention Basin | 37.2096 | -77.4478 | 3.09 | 1.66 | 1.43 | 2005-06-30 | JA40 | Cattail Run | Yes | No | Public | N/A | 2026-01-21 | L:\24000s\24700\24725.03\1. Inspections\2. SMF Inspections

## SMF Maint Summary
CSH Stormwater Management Facility Maintenance Summary 2025 - 2026
SMF ID | Type of Facility | Maintenance Observations from Latest Inspection | Description of Maintenance Performed | Date Maintenance Completed | Location of Photographs of Maintenance Performed | Pass/Fail
CSH-1 | Extended Detention | Stabilize bare patches of soil with seed and mulch. Stormwater remains in the pond indicating stagnant water causing cattails and algae to flourish. WSSI recommends an engineering maintenance plan to restore proper detention pond functioning.
SMF Maintenance Protocols
|  | Description | Maintenance Completion Timeframe
|  | No Maintenance Required | Not Applicable
|  | Routine Maintenance Required | October 1 of permit year denpending on complexity
|  | Corrective Maintenance Required | Within 1 year of inspection denpending on complexity

## Outfall Inventory
Central State Hospital Outfall Reconnaissance Inventory 2025 - 2026 | [11 empty] | Description (including the Location, Source, Material, & Estimated Quantity) of the Unauthorized Release or Spill | Date |  |  | Discovered |  |  | Location of Photos of Discharge, Release or Spill & Photos after Cleanup (Even if permanent stain) | Desscribe Any Modifications to SWPPP, if necessary
Outfall ID | Latitude | Longitude | Area Drainage to Outfall (Acres) | Name of Receiving Water | 6th Order HUC | Direct Discharge to Receiving Water Impaired (2022 303(d)/305(b)) | Predominant Land Use to Impaired Water | Applicable TMDL(s) and Pollutants of Concern | Date of Last Screening | Summary of Screening Results | Location of Photos |  | Initially Observed | Reported | Investigation Closed | During Annual Inspection | Reported by the Public | During Daily Operations
CSH-01 | 37.2042 | -77.4553 | 0.040542 | Unsegmented Tributary to Cattail Run | JA40 | Not Assessed | Lawn, Asphalt | Chesapeake Bay | 2026-01-22 | No Illicit Discharges Found | L:\24000s\24700\24725.03\1. Inspections\1. Outfall Inspections
CSH-02 | 37.2042 | -77.4551 | 0.093086 | Unsegmented Tributary to Cattail Run | JA40 | Not Assessed | Lawn, Asphalt | Chesapeake Bay | 2026-01-22 | No Illicit Discharges Found
CSH-03 | 37.2045 | -77.455 | 1.0149 | Unsegmented Tributary to Cattail Run | JA40 | Not Assessed | Lawn, Asphalt | Chesapeake Bay | 2026-01-22 | No Illicit Discharges Found
CSH-04 | 37.205 | -77.4548 | 0.5 | Unsegmented Tributary to Cattail Run | JA40 | Not Assessed | Lawn, Asphalt | Chesapeake Bay | 2026-01-22 | No Illicit Discharges Found
CSH-05 | 37.2052 | -77.4548 | 0.62 | Unsegmented Tributary to Cattail Run | JA40 | Not Assessed | Asphalt, Buildings | Chesapeake Bay | 2026-01-22 | No Illicit Discharges Found
CSH-06 | 37.2056 | -77.4549 | 0.9539 | Unsegmented Tributary to Cattail Run | JA40 | Not Assessed | Lawn, Asphalt | Chesapeake Bay | 2026-01-22 | No Illicit Discharges Found
CSH-07 | 37.2064 | -77.4547 | 1.2276 | Unsegmented Tributary to Cattail Run | JA40 | Not Assessed | Lawn, Asphalt, Buildings | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-08 | 37.2071 | -77.4553 | 0.74315 | Unsegmented Tributary to Cattail Run | JA40 | Not Assessed | Lawn, Asphalt, Buildings | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-09 | 37.2078 | -77.4558 | 0.29677 | Unsegmented Tributary to Cattail Run | JA40 | Not Assessed | Lawn, Asphalt, Buildings | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-10 | 37.2082 | -77.456 | 1.2693 | Unsegmented Tributary to Cattail Run | JA40 | Not Assessed | Lawn, Asphalt, Buildings | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-11 | 37.2087 | -77.4562 | 0.37128 | Unsegmented Tributary to Cattail Run | JA40 | Not Assessed | Lawn, Asphalt, Buildings | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found |  | CSH-11: Low flow in an outfall channel. 4.98 pH, 58° F, 0.00ppm Chlorine. No flow was discovered upstream of the outfall structure. Moving algea and debris in the channel caused some flow. Field engineer's best judgement is that the stagnent water in the outfall was due to a shallow slope in the pipe and channel. Tests and observations gave no indication of an IDDE. | 2026-01-21 | 2026-01-21 | 2026-01-23 | Yes |  |  | L:\24000s\24700\24725.03\1. Inspections\1. Outfall Inspections | N/A
CSH-12 | 37.2096 | -77.4571 | 0.88861 | Unsegmented Tributary to Cattail Run | JA40 | Yes | Forest, Lawn, Asphalt, Buildings | Chesapeake Bay | 2026-01-22 | No Illicit Discharges Found
CSH-13 | 37.2099 | -77.4573 | 0.56205 | Unsegmented Tributary to Cattail Run | JA40 | Yes | Forest, Lawn, Asphalt, Buildings | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-14 | 37.2111 | -77.4552 | 4.63 | Cattail Run | JA40 | Yes | Lawn, Asphalt | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-15 | 37.2112 | -77.4549 | 4.7131 | Cattail Run | JA40 | Yes | Asphalt | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-16 | 37.2122 | -77.4518 | 3.9775 | Cattail Run | JA40 | Yes | Lawn, Asphalt | Chesapeake Bay | 2026-01-22 | No Illicit Discharges Found |  | CSH-16: 4.3 gal/min from the outfall. 5.04 pH, 55° F, 0.01ppm Chlorine. Flow was found coming from what appeared to be a natural spring on the upstream hillside. Tests and observations gave no indication of an IDDE. | 2026-01-22 | 2026-01-22 | 2026-01-23 | Yes |  |  | L:\24000s\24700\24725.03\1. Inspections\1. Outfall Inspections | N/A
CSH-17 | 37.2127 | -77.452 | 0.19064 | Cattail Run | JA40 | Yes | Lawn, Asphalt | Chesapeake Bay | 2026-01-22 | No Illicit Discharges Found
CSH-18 | 37.2127 | -77.452 | 1.4632 | Cattail Run | JA40 | Yes | Lawn, Asphalt | Chesapeake Bay | 2026-01-22 | No Illicit Discharges Found
CSH-19 | 37.2129 | -77.4513 | 0.24885 | Cattail Run | JA40 | Yes | Lawn, Asphalt | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-20 | 37.215 | -77.4532 | 1.1207 | Cattail Run | JA40 | Yes | Lawn, Asphalt, Buildings | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-21 | 37.211 | -77.4478 | 0.42022 | Cattail Run | JA40 | Yes | Lawn, Asphalt, Buildings | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-22 | 37.2108 | -77.4478 | 0.38538 | Cattail Run | JA40 | Yes | Lawn, Asphalt, Buildings | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-23 | 37.2108 | -77.4478 | 1.7068 | Cattail Run | JA40 | Yes | Lawn, Forest, Asphalt, Buildings | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-24 | 37.2067 | -77.4479 | 1.2966 | Rohoic Creek | JA40 | Yes | Lawn, Forest | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-25 | 37.2068 | -77.4473 | 0.098636 | Rohoic Creek | JA40 | Yes | Lawn, Asphalt, Buildings | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-26 | 37.2066 | -77.4475 | 0.17091 | Rohoic Creek | JA40 | Yes | Lawn, Asphalt | Chesapeake Bay | 2026-01-22 | No Illicit Discharges Found |  | CSH-26: 5.8 gal/min from the outfall. 6.44 pH, 56° F, 0.00ppm Chlorine. Field engineer followed flow upstream and observed flow in the upstream manholes coming from the direction of the Warehouse and the Maintenance and/or laundry building. The client responded that flowing water was coming from an underground spring of fresh water. | 2026-01-22 | 2026-01-22 | 2026-01-29 | Yes |  |  | L:\24000s\24700\24725.03\1. Inspections\1. Outfall Inspections | N/A
CSH-27 | 37.2074 | -77.4456 | 7.2304 | Rohoic Creek | JA40 | Yes | Lawn, Forest | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-28 | 37.2069 | -77.448 | 0.95858 | Rohoic Creek | JA40 | Yes | Asphalt, Lawn | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-29 | 37.2131 | -7745146 | 11.5 | Cattail Run | JA40 | Yes | Asphalt, Lawn | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-30 | 37.214 | -77.4509 | 0.05 | Cattail Run | JA40 | Yes | Asphalt, Lawn | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found
CSH-31 | 37.2061 | -77.4487 | 18.65 | Rohoic Creek | JA40 | Yes | Forest, Buildings | Chesapeake Bay | 2026-01-21 | No Illicit Discharges Found

## Outfall Maint Summary
CSH Outfall Maintenance Summary 2025 - 2026
Outfall ID | Details of Any Necessary Follow-up | Maintenance Performed | Date of Maintenance | Location of Photos of Maintenance Performed
CS-01 | Review; The flume is cracked downstream of the end wall. There is a significant sinkhole behind the endwall and the stormwater pipe is not supported by the surrounding soil. Approximately 20' from a sidewalk. Not a safety hazard yet, but, if the sinkhole continues to collapse, a more serious issue may arise. WSSI recommends an engineering evaluation.
CS-02 | Monitor; Bottom of outlet pipe appears to be lower than the bottom of the receiving channel.
CS-03 | No Maintenance Required
CS-04 | Repair; Outfall appears to be buried under a pile of riprap. Pull riprap off to expose the outfall opening and appropriately lay riprap apron. WSSI believes that an engineering evaluation is not necessary at this time and maintenance can be performed in-house.
CS-05 | No Maintenance Required
CS-06 | No Maintenance Required; Lower Right Corner is Cracked, but damage is cosmetic.
CS-07 | No Maintenance Required; Minor sedimentation observed in the outfall pipe.
CS-08 | No Maintenance Required
CS-09 | Monitor; Bare soil observed on the side of the channel, concrete debris was observed in the outfall pipe. Seed and stabilize bare soil and remove debris from the pipe.
CS-10 | No Maintenance Required
CS-11 | No Maintenance Required
CS-12 | Outfall Not Found due to construction
CS-13 | Monitor; Channel and outfall 1/2 blocked with debris. Remove debris.
CS-14 | No Maintenance Required
CS-15 | No Maintenance Required
CS-16 | Monitor; Vegetation Growing directly above outfall pipe which could damage the pipe at a later date. Minor channel erosion in the form of side sloughing and incision were observed. Remove vegetation (along with associated roots) directly above the pipe. Install adequate outlet protection in accordance with good engineering design practices.
CS-17 | Repair; Outfall blocked with sediment and vegetation. WSSI believes that an engineering evaluation is not necessary at this time and maintenance can be performed in-house.
CS-18 | No Maintenance Required
CS-19 | Review; Outfall pipe is 1/2 blocked with debris, and the channel is 3/4 blocked with pine needle debris at the upstream end of the channel. Remove organic debris from the outlet pipe and ensure a positive drainage slope down the channel. WSSI believes that an engineering evaluation is not necessary at this time and maintenance can be performed in-house.
CS-20 | Monitor; Outfall pipe is 1/4 blocked with sediment and debris. Remove sediment and debris.
CS-21 | No Maintenance Required
CS-22 | No Maintenance Required
CS-23 | Monitor; Outfall pipe is 1/2 blocked with sediment. Remove sediment.
CS-24 | No Maintenance Required
CS-25 | No Maintenance Required
CS-26 | Review; Major channel erosion occurring at the discharge of the outfall, at the immediate downstream banks, and beneath and around the outfall pipe. There is a pipe disconnection at the outfall. WSSI recommends an engineering evaluation. Maintenance likely to require a contractor.
CS-27 | No Maintenance Required
CS-28 | Review; While the top of the end wall was located, the outfall pipe is covered with sediment. Flow is still coming from the end wall, but the outfall was not located. Remove sediment and organic debris from the outlet pipe and ensure a positive drainage slope down the channel. WSSI believes that an engineering evaluation is not necessary at this time and maintenance can be performed in-house.
CS-29 | Monitor; Channel 1/4 blocked with pine needle debris. Remove debris.
CS-30 | Review; Channel and Outfall 1/2 blocked with sediment. Remove sediment from the outlet pipe and ensure a positive drainage slope down the channel. WSSI believes that an engineering evaluation is not necessary at this time and maintenance can be performed in-house.
CS-31 | Monitor; Incised downstream channel was observed.
Outfall Maintenance Protocols
No Maintenance Required
Monitor - Presence of one or more indicators
Review - One or more indicators with a severity of 3 or 2 or more with a severity of 2.
Repair - Two or more indicators with a severity of 3 or a safety concern.

## Illicit Discharge & Spill Log
CSH Illicit Discharge and SWPPP Spill Log 2025 - 2026
Illicit Discharge (The discharge entered or is resonably expected to enter the stormdrain system. Report to DEQ.) |  |  |  | https://portal.deq.virginia.gov/prep/createReport
No. | Description (including the Location, Source, Material, & Estimated Quantity) of the Unauthorized Release or Spill | Date |  |  | Discovered |  |  | Location of Photos of Discharge, Release or Spill & Photos after Cleanup (Even if permanent stain) | Desscribe Any Modifications to SWPPP, if necessary
|  | Initially Observed | Reported | Investigation Closed | During Annual Inspection | Reported by the Public | During Daily Operations
1
2
3
4
5
6
7
8
Good Housekeeping Issue (The discharge did not enter or is not expected to enter the stormdrain system. Do not report to DEQ.)
No. | Description (including the Location, Source, Material, & Estimated Quantity) of the Unauthorized Release or Spill | Dates |  |  | Discovered |  |  | Location of Photos of Discharge, Release or Spill & Photos after Cleanup (Even if permanent stain) | Desscribe Any Modifications to SWPPP, if necessary
| Was the source identified? Describe any follow-up to activities? How was the incident resolved? | Initially Observed | Reported | Investigation Closed | During Annual Inspection | Reported by the Public | During Daily Operations
1 | SWPPP Area 18: Spill covered with sorbants. To be removed and disposed of when the spill has been fully absorbed and before the next rainfall event. | 2026-01-22 | 2026-01-22 | 2026-01-22 | Yes |  |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures | NA
2 | SWPPP Area 19: Liquids pooling under vehicles with a viscosity unlike water. Spills located under a roof. Properly clean and dispose of spills. | 2026-01-22 | 2026-01-22 | 2026-01-22 | Yes |  |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures | NA
3
4
5

## SWPPP Inspection Summary
CSH SWPPP Inspection Summary 2025 - 2026 |  | Inspection Date: 1/22/2026
SWPP Area | Source | Corrective Action Required | Date Action Completed | Location of Photos
1 | Dumpster | Close Dumpster |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
2 | Outdoor Material Storage | Area not accessible due to current construction project. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
3 | Dumpster | Close Dumpster |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
4 | Dumpster | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
5 | Outdoor Loading | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
| Dumpster | Trashcan is overflowing. Empty the trashcan and close the lid. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
| Covered Loading | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
6 | Dumpster | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
| Covered Loading | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
| Outdoor Equipment/Vehicle Storage | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
7 | Dumpsters | Close Dumpsters |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
8 | Dumpsters | Close Dumpsters and Place Trash in Dumpster |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
9 | Dumpster | Close Dumpster |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
10 | Dumpsters | Close Dumpsters |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
11 | Dumpsters | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
12 | Dumpster | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
13 | Outdoor Loading | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
14 | Outdoor Vehicle/Equipment Storage | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
| Covered Vehicle/Equipment Storage | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
| Dumpster | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
15 | Covered Loading | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
| Outdoor Loading | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
| Dumpster | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
16 | Outdoor Loading | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
| Dumpster | Close Dumpster |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
17 | Dumpster | Close Dumpster |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
18 | Oudoor Vehicle/Equipment Storage | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
| Vehicle Washing | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
| Vehicle Maintenance | Spill observed covered with sorbant granules. These granules will need to be swept up and properly disposed of once the liquid is absorbed and before the next rainfall event. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
19 | Fueling Area | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
| Outdoor Vehicle/Equipment Storage | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
| Covered Vehicle/Equipment Storage | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
20 | Dumpsters | Close the Soiled Linen Dumpster |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
A | Outdoor Material Storage | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
B | Dumpster | Close Dumpster |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
C | Dumpster | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
| Outdoor Vehicle/Equipment Storage | No Corrective Action Required. |  | L:\24000s\24700\24725.03\1. Inspections\3. SWPPP Inspection\20260122 SWPPP Pictures
Misc | Areas of erosion occuring on-site | No Corrective Action Required.
| Areas of exposed soils | No Corrective Action Required.
| Oil, hydralic fluid, or chemical spills | No Corrective Action Required.
| Open (uncovered) and unlabeled containers | No Corrective Action Required.
| Any other potential pollutants | No Corrective Action Required.
SWPPP Maintenance Protocols
|  | Description | Maintenance Completion Timeframe
|  | Area not accessible due to current construction project. | Not Applicable
|  | No Corrective Action Required. | Not Applicable
|  | Historical issue. No Corrective Action required. | Not Applicable
|  | Review area. Corrective Action as needed. Reinspect. | October 1 of permit year
|  | Corrective Action Required Immediately. | Immediately

## Public Input & AR changes
CSH Public Input Log 2025 - 2026
# | Public Input | Name | Contact Info | Date completed | Response
1
2
3
CSH MS4 Program Changes Log 2025 - 2026
# | Describe Change
1
2
3

## Training
CSH Training Tracker
MS4 Biennial Training
Year | Date(s) | # of Particpants | Description
2024 - 2025 | 2025-05-05 | 33 | Good Housekeeping, Pollution Prevention and Illicit Discharge Detection and Elimination
2026 - 2027
2028 - 2029
SPCC Annual Training
Year | Date(s) | # of Particpants
2023 - 2024 | NA | 0
2024 - 2025 | 2025-06-01 | 13
2025 - 2026 | NA | 0
2026 - 2027 | NA | 0
2029 - 2028 | NA | 0
Pesticide Certification Training
Year | Date(s) | # of Particpants
2023 - 2024 | NA | 0
2024 - 2025 | NA | 0
2025 - 2026 | NA | 0
2026 - 2027 | NA | 0
2029 - 2028 | NA | 0

## HPF Evaluation
CSH Annual High Priority Facility Evaluation 2025 - 2026
High Priority Area Classification (HPAC) Criteria
1 | Equipment Storage/Maintenance
2 | Material Storage
3 | Pesticide Storage Facility
4 | Public Works Yard
5 | Recycling Facility
6 | Salt Storage Facility
7 | Solid Waste Handling/Transfer
8 | Vehicle Storage/Maintenance
High Potential Classification (HPC) Criteria
a | Residuals from using, storing, or cleaning machinery/equipment
b | Materials/residual on ground or storm inlets
c | Material handling equipment
d | Erodible material during loading/unloading/transport
e | Materials/product stored outdoors
f | Open/leaking containers
g | Waste material
h | Process water
| HPF Evaluation | Yes/No/Facility Name
| All existing facilities remain HPF? | Yes
| Any facilities evaluated to become HPF? | No
| Do any new properties fall within a new CUA due to a recent census? | NA
| Do any new properties meet any above HPAC or HPC criteria? | NA
| List of New facilities requiring SWPPPs: | NA

## Nutrient Credits
Nutrient Credits Availability
Date | Project Name or Purchase Contract Name | TP Purchased | TN Retired | TSS Retired | TN:TP Ratio | CB or Project Name | TP Used | TP Remaining | TN Used | TN Remaining | BMP(s) | Total Cost | Price per LB TP | Price per LB TN | BMP of Purchased Credits
[13 empty] | #DIV/0! | #DIV/0!
[13 empty] | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! |  |  | 0 | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! |  |  | 0 | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! |  |  | 0 | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! |  |  | 0 | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! |  |  | 0 | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! |  |  | 0 | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! |  |  | 0 | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! |  |  | 0 | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[8 empty] | 0 | TP Available